## Sheet2
PUMP STATION JOB INFORMATION FORM
| Contact & Site Information | [6 empty] | Identify the Application Type |  | Determine the Hydraulic Requirements |  |  |  |  | Select Required Options
[7 empty] | (Check one of the following application types) |  | (Fill only one of the application specific frames below) |  |  |  |  | (Check all of the desired option boxes below)
CONTACT INFORMATION | [8 empty] | PRESSURE BOOST ONLY
[16 empty] | Pressure Relief Valve: |  |  |  | (prevents pipe hammer by relieving excess line pressure)
| Project Name: | [8 empty] | Maximum Flow Required: |  | GPM
| Requestor: |  | Name: | [6 empty] | Minimum Design Flow: |  | GPM |  |  |  | Flow sensor: |  | (choose one of the following)
(if less than 35% of max flow, a two pump system may be required)
|  |  | E-mail: | [13 empty] | Basic flow sensor (no read out provided)
[10 empty] | Required Discharge Pressure: |  | PSI
|  |  | Phone: | [7 empty] | (at P.O.C.- based on critical analysis of irrigation zones) | [5 empty] | Magnetic flowmeter
| Quote Need by date: | [8 empty] | Dynamic Inlet Pressure: |  | PSI |  |  |  |  | Paddlewheel flowmeter
(determined by test at point of connection at maximum design flow)
SITE INFORMATION
[16 empty] | Optical Isolator |  |  | (for sharing a flowmeter data)
| Elevation above sea level: |  |  |  | Feet |  |  |  | FLOODED SUCTION ONLY
[10 empty] | Maximum Flow Required: |  | GPM |  |  |  | Z-pipes: |  | ( transition from above ground to below ground pipes)
| Pump Station Indoors or Outdoors: | [16 empty] | (choose all that apply)
[10 empty] | Minimum Design Flow: |  | GPM |  |  |  |  | Suction side z-pipe
(if less than 35% of max flow, a two pump system may be required)
| Environmental Enclosure Required? |  |  |  | Yes or No | [11 empty] | Discharge side z-pipe
[10 empty] | Required Discharge Pressure: |  | PSI
| Enclosure Heating Required? |  |  |  | Yes or No | [5 empty] | (at P.O.C.- based on critical analysis of irrigation zones) | [5 empty] | Other z-pipe ( specialty applications only)
| Enclosure Insulation Required? |  |  |  | Yes or No |  |  |  |  | Minimum Suction Head: |  | Feet
[11 empty] | (measured from minimum tank level to centerline of pump suction) |  |  |  |  | Station Bypass Piping: |  |  |  | (to allow use of an alternate water supply and isolate the pump)
| Available Power: |  |  | Phase: | single phase or 3 phase
[9 empty] | SUCTION LIFT ONLY | [6 empty] | Auto flushing discharge side filter: |  |  |  |  | (choose one of the following)
|  |  |  | Voltage: | 208, 230, 460 or other |  |  |  |  | Maximum Flow Required: |  | GPM
Basic wye strainer
[10 empty] | Minimum Design Flow: |  | GPM
| Starting Method: |  |  | Clock Start: | [6 empty] | (if less than 35% of max flow, a two pump system may be required) | [5 empty] | Suction Scanning Filter
|  |  |  | Flow Start: |  | (check one) |  |  |  | Required Discharge Pressure: |  | PSI |  |  |  |  | Mutli-Canister Disk Filter
(at P.O.C.- based on critical analysis of irrigation zones)
Pressure Start:
[10 empty] | Maximum Suction Lift: |  | Feet |  |  |  | Alarm Light
(measured from minimum source water level to centerline of pump suction)
[10 empty] | Suction line length: |  | Feet |  |  |  | Ethernet modem and HMI upgrade |  |  |  |  | (choose one of the following)
(measured from water inlet to pump suction)
| Conform to Project Specifications? |  |  |  | Yes or No | [11 empty] | Cellular
|  | (if yes, please provide a copy of any specifications for review) | [7 empty] | Suction intake screen required? |  | Yes or No
[9 empty] | Suction line size recommendation and NPSH calculations will be provided by Rain Bird | [7 empty] | Radio
Additional considerations or special requests? Please use this space to
explain your requirements.
[9 empty] | WET WELL W/ TURBINE ONLY | [6 empty] | Intake screen for suction lift apps |  |  |  |  | (choose one of the following)
[10 empty] | Maximum Flow Required: |  | GPM |  |  |  |  | Static screen with foot valve
[10 empty] | Minimum Design Flow: |  | GPM |  |  |  |  | Self cleaning screen with foot valve
[11 empty] | (if less than 35% of max flow, a two pump system may be required) | [5 empty] | (requires flow added to design flow for proper cleaning)
[10 empty] | Required Discharge Pressure: |  | PSI |  |  |  | Low level shut off
[11 empty] | (at P.O.C.- based on critical analysis of irrigation zones) | [5 empty] | (protects station from low water levels in suction lift apps)
[10 empty] | Wet well dimensions: |  |  | Feet |  | Describe any additional options desired here:
[11 empty] | (be specific- provide diameter or length and width) |  |  |  | (Start notes here)
[10 empty] | Wet well depth: |  | Feet
(measured from top of slab to bottom of well)
[10 empty] | Minimum well water level: |  | Feet
(measured from top of slab to minimum water level)
3
2
4
1